## Sheet1
ASCENDING ORDER OF AVERAGE RESOLUTION TIMES OF PROBLEM TYPES
RECTIFIER FAIL ALARM | 0 | <--- Data used for plotting of below graph (obtained through python scripts to analyze original data)
MAJOR ALARM | 0
BATERY MODE | 0
DGFAIL TO START | 0
HIGH TEMP / ROOM | 0
MAINS OFF | 0
MAINS ON LOAD | 0
OFC POWER PLANT-1 | 0
SITEONBATTE | 0
SMOKE DETECTER | 0
POWER MAJOR | 0
MAINS FAILURE /C | 0
CTIFIER MINOR | 0
FIRE & SMOKE DETE | 0
DG FAIL START | 0
MANIS FAIL | 0
HIGH TRMPREATURE | 0
AIR CONDITIONER P | 0
RECTIFIER FAIL | 0
LEFT HEX ALARM | 0
SURGE FAIL&COMMON | 0
M LOAD FUSE FAIL | 0
COMMON SURGE FAIL | 0
CTIFIER MAJOR | 0
AIR CONDITION FA | 0
LOAD BATT FUSE FA | 48
MAINS FAILURE CMF | 49
MAINS FAIL (COMMO | 52
MULTIPLE RECTIFIE | 55
LOAD/BATTERY FUSE | 57
BATTERY MODE-ID O | 60.75
M LOW VOLTAGE | 66
LOW BATTERY FNP-2 | 68
MAINS FAIL ELTECK | 69
POWER PLANT BATTE | 70
AC1 FAIL (HIGH TE | 71
DG FAILTO STOP | 78.5
BATERRY MODE/AC O | 79
AC FAIL TO DCPS( | 79.5
SURGE FAIL | 81
HUB SITE MAINS FA | 88.3333
FILTER FAIL PDF 1 | 99.6667
MAINS FAILS | 125
BATTERY MODE - HU | 132.3333
DC LOW BATTERY | 139.3333
AC FAILURE | 161
OVER TEMP ALARM | 171.5
DOOR OPEN SHL-2 | 172
BATTRY MODE | 188.5
EB OFF VND-001 | 189
LOAD FUES FAIL | 189.25
MAINS FAILURE LIN | 191
DG ON FNP | 193
RECTIFIER FAIL/ M | 195
MAINS FAIL TYCO | 196.3333
D SHELTER DOOR OP | 203.5
M BATTERYMODE | 212.5
BATTERY MODE - OF | 219.4
DC DISCONNECT | 224.5
BATERRY MODE | 237.6667
MAINS FAIL BATTER | 250.4167
DG FAIL TO SAT | 255
LOW LUBE OIL | 270
LOW BATTERY - OFC | 274
SITE ON BATTERY. | 278
EB OF | 284.5
M AC FAIL TO DCP | 296.6667
DOORSWITCH | 307.5
BATTERYMODE/MAJOR | 314.5
AC2 POWER FAILURE | 325.3333
MAINSFAILURE / CM | 329.5
RECTIFIER FAIL MI | 347.75
BATTERY MODE - LI | 351
MAINS FAIL LINEAG | 352
MAINFAILURE | 355.6667
AIR CONDITINAL FA | 367.5
EB-OFF | 368.5
MAINSFAIL | 372
M EB OFF 3G | 374.6667
BATTERY MODE (DE | 378
LOAD ON BATTERY | 384.2222
SHELTER HIGH TEMP | 416.5
DC LOW VOLTAGE | 418.6667
MAINSFAIL CMF | 455
MANIS FAIL / EB O | 459
EB OFF(F&P) | 460.5
AC2 FAIL | 461
MAINS FAILL | 466
DOOR SWITCH ALARM | 474
COMMON / SURGE FA | 493
MAINS FAIL / BATT | 515.1
MAINS FAIL DELTA | 554.75
PAC ALEART | 561
LLOP-DG | 565
M LOW BATTERY | 569
AC FAIL (BATTERY | 592.2
HIGH TEMPERATUR | 593
SITE ON BATTERY | 599
ROOM HIGH TEMP | 625.5
MAINS FAIL 3G POW | 687.3333
BATTERY DISCHARGE | 699
EB OFF/MAINS FAIL | 701
BATTERY MODE PP1 | 704.7059
BATTERY FUSE FAIL | 723.2222
LOW VOLTAGE WARNI | 772
MAINS FAIL/EB OFF | 806.8333
BATTERY MODE TEJA | 825.25
AC1 PRIMARY ALARM | 844.7778
M HEX RIGHT ALARM | 888.875
AC 1 FAULTY | 891.037
AIR CONDITIONER F | 922.8889
BATTERY MODE-BTS | 945.3333
LOW BATTERY MODE | 979.6667
BATTERY MODE 2 | 986.0714
AC2 FAULT | 996.4286
LOAD BATTERY FUSE | 1003
DELTA MAINS FAIL | 1028
RECTIFER FAIL | 1055
BATTERY LOAD FUSE | 1070.4016
BATT .MODE | 1072
MAINS FAIL/CMS | 1074.625
AC COMMON FAULT | 1145
AC 2 FAULTY | 1146.3714
AC FAIL TO DC POW | 1223.5
MAINS FAIL/BATTER | 1233.5
BATTERYMODE | 1236.5217
AC FAILS TO DCPS | 1239.3333
OFC BATTERY MODE- | 1239.6667
BATTAY MODE | 1282
DG ON / LOAD ON D | 1341.2917
EBOFF | 1391
MAINS FAILURE / C | 1406.2458
M AC FAILS TO DC P | 1487
OFF | 1488.6883
M EB MAINS FAIL | 1497.5
BTTERY MODE | 1548.125
TEMP SENSOR FAILU | 1567.5
REC FAIL | 1583.125
CRF (MULTIPLE REC | 1629
DG OVER LOAD | 1699
OFC DOOR OPEN | 1726.5
LOW VOLTAGE | 1743.4
BATTERY_MODE | 1779.6667
MAINS FAIL.CMF | 1803.5
CMF | 1926.75
INDOOR AC POWER F | 1938.2
MAINSFAIL CMF | 1992
EB FAIL | 2024
BATTERY MODE ON F | 2041.4
DG ON/ LOAD ON DG | 2077.25
MAINS FAIL COMMON | 2182.1538
END | 2368
SINGLE RECTIFIER | 2371.875
AC FAIL DCP / BA | 2400.7273
MAINS FAIL / CMF | 2529.75
INS FAIL | 2564.4762
LVD1 | 2573.549
BATTERY MODU | 2635.5
BATTERY MODE(PADR | 2780.2281
CMF MAINSFAIL | 2908.2
SITE ON BATTERY | 2923
MAINS SPD FAIL | 2992
M BATTERY MODE | 3010.1759
LOAD FUSE FAIL | 3126
INPUT FAIL | 3227.5
POWER PLANT MAINS | 3235.5
LOW BATTERY | 3320.2903
BATTERY MODE 3G | 3378.6667
DOOROPEN | 3408.5
BATTERY ON LOAD | 3413.5
COMMON FAIL ELTEK | 3426
MAINS FAILURE | 3500.6667
RF FAIL | 3561
DC LOW | 3643.6429
AC MAINS FAIL | 3690.8182
AC FAIL DCP | 3772.6721
LEFT HEX | 3796.3182
LOE FULE | 4054.75
MAIN FAIL | 4096.5
CTIFIER FAIL | 4203.9062
M AC FAIL DCP | 4410
L0AD ON DG | 4414.1057
BATTERY MODE | 4417.8889
SITE ON BATTERY M | 4474.5
GH TEMP | 4542
M BATTERY MODE | 4600.4286
BATTERY LOW | 4663.6667
AC FAIL TO CPS | 4729
HIGH TEMP | 4740.0084
HIGH TEMP ON FNP | 4766.5
DG ON/LOAD ON DG | 4905.3077
RIGHT HEX FAIL | 4968.5
RECTIFIER MAJOR | 4973.5758
DOOR SWITCH OPEN | 5015.2581
AC FAIL TO DCP | 5037.3333
EB OFF | 5068.5
EB OFF/BATTERY MO | 5191.5
TEMPERATURE SENSO | 5327.1765
BATTERY MODE 3 | 5341.75
DG ON /LOAD ON DG | 5414.35
HIGH TEMPERAATURE | 5871
LVD | 5872.6316
RECTIFIER FAIL EL | 5873.25
RECTIFIER MINOR A | 6128.5
MAINS FAILURE/CMF | 6157.4114
RECTIFIER FAIL/BA | 6263
HEX LEFT | 6442
MAINSFAILURE | 6603.0131
B | 6959
HIGH TEMPERTURE | 7092
EB MAINS FAIL | 7148
M LOAD ON DG | 7524.4
MAINS FAILURE / B | 7693.6667
EB OFF DG ON | 7754
SMOKE DETECTOR | 7836.6
AC FAILS TO DCPS( | 8019.6
LOW TEMP | 8062.208
KDKDKD | 8488
BATTERY MODE | 9711.1117
LOW FUEL LEVEL | 10067.5
FAIL TO START/DG | 10123.2981
CRF | 10270
MAINS FAIL & BATT | 10398.2
SITE ON BATTERY | 10406.8301
CRITICAL MAINS FA | 10506
COMMON FAULT / SU | 10794
DG ON. | 11049.5
DG FAIL TO START/ | 11422.8
SMOKE&FIRE | 11581.75
MAJOR RECTIFIER F | 11669
DGFIL TO START | 12100.3333
HIGH TEMPERATURE/ | 13351.75
FIRE AND SMOKE | 13375.4699
MAINS FAIL | 13528.6639
MAINS FAIL | 13546.6667
CRICTICAL RECTIF | 13842.0909
AC OFF | 14151.0571
HIGH WATER TEMP | 14412.5
MAINS FAILURE | 15534.3411
MAINS FAIL CMF | 15807
MAINSFAILURE CMF | 15871
LOAD ON DG | 16093.7376
LOW FUEL ALARM | 16129.1818
FIRE & SMOKE ALAR | 16131
SURGE FAIL COMMON | 16314.1286
AD ON DG | 16694.6667
HEX RIGHT ALARM | 16767.5221
LEFT HEX ALARM | 17092.4138
LOW FUEL | 17159.9091
AC FAIL | 17230.6364
HEX LEFT DOOR FAN | 17373.5
LLOP | 17449.8122
HIGH TEMPERATURE | 18013.5761
EB OFF | 18644.3041
DOOR SWITCH -SHEL | 19561.5
BATTERY DISCONNEC | 19715.3333
M MAINS FAIL | 20995.1206
RECTFIER FAIL | 21357
SMOKE/FIRE | 21394.5455
LOAD ON MAINS | 21708.4523
HIGH TEMPRATURE | 22515
DG ON | 23295.1579
RECTIFIER FAIL | 24356.1075
M DC DISCONNECT | 24572
MAINS FAIL ELTEK | 24681.8529
SF CF(SURGE FAIL | 24758.3333
MAINS FAIL/CMF | 25150.8115
DOOR OPEN | 25243.4255
COMMON FAULT | 25750.2
RECTIFIRE MAJOR | 27279.6667
M HEX RIGHT FAIL | 27862
DOOR SWITCH | 28759.0202
DG ON LOAD | 28852.1724
HEX LEFT | 29244.6093
DG COMMON FAULT | 29707.2
HIGH ROOM TEMPERA | 29735.8478
M EB OFF | 29978.2568
HEX RIGHT | 30143.0144
HEX RIGHT DOOR AL | 32075.5
DOOR SWITCH | 32341.4
AD ON MAIN | 33698
RIGHT HEX ALARM | 34569.3548
RF(SINGLE RECTIFI | 34620.2
EB 0FF | 34958.7605
HIGH WATER TEMPER | 35116
HEX RIGHT FAILURE | 35139.5556
DG FAILS TO START | 36176.3659
HWT | 36392.0084
HIGH TEMP OFC FNP | 36876.4
HIGH ROOM TEMP | 37404.2
BFU FAULT | 38064.9839
DG FAIL TO START | 38429.0526
ON | 39732.7917
LOAD ON EB | 42025.7308
DG FAILS TO STOP | 46996.9194
M DOOR SWITCH | 49978.2727
MAINSFAILURE/CMF | 50073.3889
LOW VOLTAGE | 50259.6842
RIGHT HEX | 52011.3171
RECTIFIER MINOR | 53137.2
ROOM TEMP HIGH | 53216.386
BATTARY MODE | 53909.0909
OR SWITCH | 54114.8235
HEX LEFT ALARM | 54849.4737
DG FAULT / LLOP | 55607.5556
CRITICAL RECTIFIE | 55942.9333
OR OPEN | 56426.6875
MAINSFAIL EBOFF | 56489.9412
HEX LEFT DOOR ALA | 56999.9412
ROOM TEMPERATURE | 64324.3889
RF | 64576.7647
M DG ON | 65793.7143
BOTH AC FAILURE | 66895
M HEX LEFT | 70090.6429
AC-1 FAULT | 70107.4615
RECTIFIER CRITICA | 70251.3333
RECTIFIER (MAJOR) | 71990
RECTIFIER FAIL DE | 72051.5
SFCF | 78343.3636
DG FAULT | 79419.7711
DG FAULTY | 80675.1429
M LOAD ON MAINS | 80926.4167
DOOR ALARM | 82337.5857
HEXRIGHT | 86597.0909
RECTIFIER FAILS | 87607
M DG FAIL TO START | 87935.0909
RF / CRF | 88305.8182
LOW FUIL | 90400
SMOKE ALARM-FNP | 90883
HEX LEFT FAIL | 95979.9667
M RECTIFIER FAIL | 100519.4444
M DOOR OPEN | 105988.8148
TEMP SENSOR FAIL | 106206.8889
M HIGH TEMPERATURE | 106607.4
RECTIFIER FAILURE | 110064.7
BTS DOOR OPEN | 110188.8
LOW BATTERY VOLTA | 111170.875
HEX RIGHT | 112540.4444
HEX LEFT1 | 112551.875
HIGH TEMP/ROOM TE | 123520
RECTIFIRE FAIL | 126423.2857
BTS EXTERNAL FAULT | 126471.8571
COMMON FAIL | 129396
DOOR OPEN-SHELTER | 139377.7143
SMOKE/FIRE ALARM | 141029.2857
BATTERYLOW LOAD | 143031.5714
DG FAIL TO STOP | 150211
HI-TEMP | 154245.8333
LOW BATTERY | 155312.3333
M BATT MODE | 155552.5
LEFT HEX FAULT | 155814.6667
DOOR SWITCH 1 | 157910.3333
LEFT HEX 2 | 168755.1667
HEX LEFT FAILURE | 175051.4
HEX LEFT FAN | 180072.6
LOW BATT VOLTAGE | 198179.8
LOW VOLTAGE 3G | 222551.75
M EB 0FF | 225110
DELTA RECTIFIER M | 246220
M RF | 254599.6364
FIRE ALARM | 262922.4286
HEX RIGHT FAIL | 295920.6667
RF (SINGLE RECTIF | 300697.6667
LEFT HEX FAIL | 309396.6667
M DG FAULTY | 316079
GH TEMPERATURE | 770662